UNIVERSITY OF CENTRAL FLORIDA SPORTS MEDICINE DEPARTMENT

Automated External Defibrillator (AED)

Bi-Weekly Inspection Log

|  | # AED #1 | AED #2 | AED #3 | AED #4 | AED #5 |
| --- | --- | --- | --- | --- | --- |
| Location | WDSC (Football) | WDSC / UCF Arena | Baseball | WDSC (39 – 133) |  |
| Model # |  |  |  |  |  |
| Serial # |  |  |  |  |  |
| Rescue Ready Window |  |  |  |  |  |
| AED Case Integrity |  |  |  |  |  |
| Smart Gauge Battery Window |  |  |  |  |  |
| Battery #1 (Exp Date) |  |  |  |  |  |
| Battery Insertion Test |  |  |  |  |  |
| Rescue Data Card |  |  |  |  |  |
| AED Pads #1 (Exp Date) |  |  |  |  |  |
| AED Pads #2 (Exp Date) |  |  |  |  |  |
| Oxygen Tank (Exp Date) |  |  |  |  |  |
| Oxygen Pressure (psi) |  |  |  |  |  |
| Oxygen Mask / Cannula |  |  |  |  |  |
| Bag Valve Mask / CPR Mask |  |  |  |  |  |
| Manual Suction Unit |  |  |  |  |  |
| Suction Cartridge (spare) |  |  |  |  |  |
| Suction Catheter(s) |  |  |  |  |  |
| BP Cuff / Stethoscope |  |  |  |  |  |
| Oral Airway Kit |  |  |  |  |  |
| Gloves |  |  |  |  |  |
| Gauze |  |  |  |  |  |
| Disposable Razor |  |  |  |  |  |
| Absorbent Towel |  |  |  |  |  |
| Scissors |  |  |  |  |  |
| Wound Care Supplies |  |  |  |  |  |
| Inspector |  |  |  |  |  |
| Inspection Date |  |  |  |  |  |
| Inspection Time |  |  |  |  |  |